## Slide 1
Compare replicates
And standards

## Slide 2
GSS can compare replicate analyses to verify the results agree to within an error tolerance.
Analysis →
Compare Replicates…
Replicate analyses or splits of a single sample

## Slide 3
Set an error tolerance
Check marks indicate an acceptable coefficient of variance between replicates.
X’s appear where the error tolerance is exceeded.
Select samples to compare then click Apply

## Slide 4
Analysis →
Compare To Standard…
GSS can check analyses of standards, samples of well-known composition, for accuracy.
Enter the standard’s known composition
Enter one or more analyses of the standard

## Slide 5
Set an error tolerance
Select the standard sample
Choose analyses for comparison, then click Apply
 or X appears depending on whether or not the deviation is within the tolerance indicated.